## Long section Main Khal (2)
Ch. | Long Section of Gabvita Khal
Dist/Ch(m) | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.053
C/L R.L. | 0.638 | 0.549 | 0.485 | 0.585 | 0.637 | 0.687 | 0.532 | 0.472 | 0.202 | 0.203 | 0.313 | -0.096 | -0.29 | -0.54 | -0.347
L/BR.L. | 2.652 | 2.951 | 3.085 | 3.76 | 2.487 | 2.376 | 2.582 | 2.887 | 2.852 | 2.725 | 1.723 | 2.618 | 2.91 | 2.195 | 2.405
R/B R.L. | 2.7 | 2.949 | 3.925 | 3.874 | 3.547 | 1.476 | 2.147 | 2.872 | 2.742 | 2.613 | 2.257 | 2.718 | 2.865 | 1.646 | 2.306
Long Section for re-excavation of Gabvita Khal
BANGLADESH WATER DEVELOPMENT BOARD
Long Section forRe-excavation Gavita khal from km. 0.000 to km. 4.053 in Polder no -01 in c/w Tarail-Pachuria Sub-Project under CRISP-WRM under Specialized Division, BWDB, Gopalganj during the year 2024-2025.
[16 empty] | (Md. Safiqul Islam Sheikh) | (Mohammad Zahir Mazhar) | (Aminul Islam Sohag)
[16 empty] | Executive Engineer | Sub-Divisional Engineer | Sub-Asstt. Engineer
[16 empty] | SMO, IDWRM-KT | SMO, IDWRM-KT | SMO, IDWRM-KT
[16 empty] | Specialized Division | Specialized Division | Specialized Division
[16 empty] | BWDB, Gopalgonj | BWDB, Gopalgonj | BWDB, Gopalgonj

## Long section Main Khal 1
Ch. | Long Section of Gabvita Khal
Dist/Ch(m) | 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6
C/L R.L. | -0.44 | -0.488 | -0.728 | -0.661 | -0.756 | -0.763 | -0.796 | -0.815 | -0.857 | -0.908 | -0.959 | -0.947 | -0.873 | -0.793 | -0.795 | -0.725 | -0.631 | -0.386 | -0.372 | -0.117 | -0.084 | 0.121 | -0.01 | 0.054 | 0.317 | 0.22 | 0.198
L/BR.L. | 3.214 | 3.187 | 2.527 | 2.388 | 2.408 | 2.153 | 2.18 | 0.988 | 0.471 | 1.019 | 0.581 | 0.693 | 1.452 | 1.527 | 1.385 | 1.433 | 1.549 | 1.148 | 1.228 | 1.255 | 1.506 | 2.201 | 2.389 | 2.489 | 2.702 | 2.707 | 2.508
R/B R.L. | 3.114 | 3.032 | 2.378 | 1.991 | 2.153 | 2.105 | 1.276 | 2.193 | 2.301 | 1.602 | 1.491 | 1.313 | 1.487 | 1.456 | 1.334 | 1.335 | 1.498 | 1.253 | 1.177 | 1.276 | 1.255 | 2.249 | 1.899 | 1.966 | 2.179 | 2.232 | 2.418
Long Section for re-excavation of Gabvita Khal
BANGLADESH WATER DEVELOPMENT BOARD
Long Section for Re-excavation Gavita khal from km. 0.000 to km. 4.053 in Polder no -01 in c/w Tarail-Pachuria Sub-Project under CRISP-WRM under Specialized Division, BWDB, Gopalganj during the year 2024-2025.
[17 empty] | (Md. Safiqul Islam Sheikh) |  |  |  | (Mohammad Zahir Mazhar) |  |  |  | (Aminul Islam Sohag)
[17 empty] | Executive Engineer |  |  |  | Sub-Divisional Engineer |  |  |  | Sub-Asstt. Engineer
[17 empty] | SMO, IDWRM-KT |  |  |  | SMO, IDWRM-KT |  |  |  | SMO, IDWRM-KT
[17 empty] | Specialized Division |  |  |  | Specialized Division |  |  |  | Specialized Division
[17 empty] | BWDB, Gopalgonj |  |  |  | BWDB, Gopalgonj |  |  |  | BWDB, Gopalgonj

## Offteke River
Cross Section of Offtake river (Mora Modhunoti river) Re-excavation Gavita khal from km. 0.000 to km. 4.053 in Polder no -01 in c/w Tarail-Pachuria Sub-Project under CRISP-WRM under Specialized Division, BWDB, Gopalganj during the year 2024-2025.
Cross section of Mora Modhumoti river along the Gabvita khal
| Pre-work | [5 empty] | Post-work
| 0 | -0.248 | [9 empty] | Khal
| 2 | -0.263 | -0.2555 | 2 | -0.511 |  | 0 | 2.171
| 5 | -0.295 | -0.279 | 3 | -0.837 |  | 5 | 2.184 | 2.1775 | 5 | 10.8875
| 7 | -0.328 | -0.3115 | 2 | -0.623 |  | 10 | 2.196 | 2.19 | 5 | 10.95
| 10 | -0.343 | -0.3355 | 3 | -1.0065 |  | 12 | 1.306 | 1.751 | 2 | 3.502 | LB
| 12 | -0.323 | -0.333 | 2 | -0.666 |  | 15 | 0.709 | 1.0075 | 3 | 3.0225
| 14 | -0.348 | -0.3355 | 2 | -0.671 |  | 18 | -0.208 | 0.2505 | 3 | 0.7515
| 16 | -0.371 | -0.3595 | 2 | -0.719 |  | 21 | -0.696 | -0.452 | 3 | -1.356
| 18 | -0.375 | -0.373 | 2 | -0.746 |  | 23.2 | -1.1 | -0.898 | 2.2 | -1.9756
| 20 | -0.378 | -0.3765 | 2 | -0.753 |  | 27 | -3 | -2.05 | 3.8 | -7.79
| 22 | -0.384 | -0.381 | 2 | -0.762 |  | 36 | -3 | -3 | 9 | -27
| 25 | -0.363 | -0.3735 | 3 | -1.1205 |  | 45 | -3 | -3 | 9 | -27
| 28 | -0.303 | -0.333 | 3 | -0.999 |  | 49 | -1 | -2 | 4 | -8
| 30 | -0.194 | -0.2485 | 2 | -0.497 |  | 50 | -0.694 | -0.847 | 1 | -0.847
| 32 | -0.133
| 34 | 0.006
| 36 | 0.192
| 38 | 2.106
| 40 | 3.252 | [9 empty] | RB
| 41 | 3.251
| 41 | 2.937
| 45 | 2.992 | [9 empty] | Shop
Cross section of Mora Modhumoti river 50 US from meeting point of Gabvita khal
| 0 | 3.687
| 5 | 3.702 | 3.6945 | 5 | 18.4725 |  | 0 | 1.884 |  |  |  | BC road
| 14 | 3.717 | 3.7095 | 9 | 33.3855 |  | 5 | 1.861 | 1.8725 | 5 | 9.3625 | LB
| 15 | 3.692 | 3.7045 | 1 | 3.7045 |  | 10 | 1.809 | 1.835 | 5 | 9.175
| 17 | 2.106 | 2.899 | 2 | 5.798 |  | 12 | 1.129 | 1.469 | 2 | 2.938
| 19 | 1.106 | 1.606 | 2 | 3.212 |  | 15 | 0.308 | 0.7185 | 3 | 2.1555
| 21 | 0.592 | 0.849 | 2 | 1.698 |  | 20 | -0.281 | 0.0135 | 5 | 0.0675
| 23 | 0.367 | 0.4795 | 2 | 0.959 |  | 25 | -0.951 | -0.616 | 5 | -3.08
| 25 | 0.182 | 0.2745 | 2 | 0.549 |  | 25.22 | -1.1 | -1.0255 | 0.22 | -0.22561
| 27 | 0.006 | 0.094 | 2 | 0.188 |  | 29 | -2.99 | -2.045 | 3.78 | -7.7301
| 29 | -0.194 | -0.094 | 2 | -0.188 |  | 38 | -2.99 | -2.99 | 9 | -26.91
| 31 | -0.394 | -0.294 | 2 | -0.588 |  | 47 | -2.99 | -2.99 | 9 | -26.91
| 33 | -0.447 | -0.4205 | 2 | -0.841 |  | 51.38 | -0.8 | -1.895 | 4.38 | -8.3001
| 35 | -0.409 | -0.428 | 2 | -0.856 |  | 55 | -0.291 | -0.5455 | 3.62 | -1.9747
| 37 | -0.233 | -0.321 | 2 | -0.642 |  | 58 | -0.092 | -0.1915 | 3 | -0.5745
| 39 | -0.011 | -0.122 | 2 | -0.244 |  | 60 | 0.701 | 0.3045 | 2 | 0.609
| 41 | 0.172
| 43 | 0.452
| 45 | 0.582
| 47 | 1.073
| 49 | 2.167
| 51 | 3.247 | [9 empty] | RB
| 52.2 | 3.246 | [9 empty] | BC road
| 52.2 | 3.006
| 56 | 2.967
|  |  | -0.0055 | -39 | 0.2145 |  | 62 | 1.459 | 1.08 | 2 | 2.16
|  |  | 0 | 0 | 0 |  | 65 | 1.45 | 1.4545 | 3 | 4.3635
Cross section of Mora Modhumoti river 50 DS from meeting point of Gabvita khal
|  |  |  | X - Section at km. |  | 0.2 | [6 empty] | 18
| Pre-work |  |  |  |  | . | Post-work
| 0 | 3.747
| 5 | 3.749 | 3.748 | 5 | 18.74
| 14 | 3.757 | 3.753 | 9 | 33.777 | [6 empty] | BC road
| 15 | 3.752 | 3.7545 | 1 | 3.7545 | [6 empty] | LB
| 17 | 2.401 | 3.0765 | 2 | 6.153
| 19 | 0.912 | 1.6565 | 2 | 3.313
| 21 | 0.573 | 0.7425 | 2 | 1.485 |  | 0 | 1.925
| 23 | 0.473 | 0.523 | 2 | 1.046 |  | 5 | 1.912 | 1.9185 | 5 | 9.5925
| 25 | 0.257 | 0.365 | 2 | 0.73 |  | 6.22 | 1.91 | 1.911 | 1.22 | 2.3314
| 27 | -0.043 | 0.107 | 2 | 0.214 |  | 16 | -2.98 | -0.535 | 9.78 | -5.2323
| 29 | -0.194 | -0.1185 | 2 | -0.237 |  | 25 | -2.98 | -2.98 | 9 | -26.82
| 31 | -0.405 | -0.2995 | 2 | -0.599 |  | 34 | -2.98 | -2.98 | 9 | -26.82
| 33 | -0.464 | -0.4345 | 2 | -0.869 |  | 44.06 | 2.05 | -0.465 | 10.06 | -4.6779
| 35 | -0.404 |  |  |  |  | 45 | 2.038 | 2.044 | 0.94 | 1.9214
| 37 | -0.209 |  |  |  |  | 50 | 2.025 | 2.0315 | 5 | 10.1575
| 39 | -0.027
| 41 | 0.262
| 43 | 0.432
| 45 | 0.706
| 47 | 0.867
| 49 | 2.067
| 51 | 3.206 | [9 empty] | RB
| 52 | 3.205 | [9 empty] | BC road
| 52 | 2.867
| 57 | 2.862
(Md. Safiqul Islam Sheikh) Executive Enginee SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj
(Mohammad Zahir Mazhar) Sub-Divisional Engineer SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj
(Aminul Islam Sohag) Sub-Asstt. Engineer SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj

## Outfall River
Cross Sectionof outfall river (Pachuria khal) Re-excavation Gavita khal from km. 0.000 to km. 4.053 in Polder no -01 in c/w Tarail-Pachuria Sub-Project under CRISP-WRM under Specialized Division, BWDB, Gopalganj during the year 2024-2025.
Cross section of Pachuria khal along the Gabvita khal
| Pre-work | [5 empty] | Post-work
| 0 | -0.248 | [9 empty] | Khal
| 2 | -0.263 | -0.2555 | 2 | -0.511 |  | 0 | 2.171
| 5 | -0.295 | -0.279 | 3 | -0.837 |  | 5 | 2.184 | 2.1775 | 5 | 10.8875
| 7 | -0.328 | -0.3115 | 2 | -0.623 |  | 10 | 2.196 | 2.19 | 5 | 10.95
| 10 | -0.343 | -0.3355 | 3 | -1.0065 |  | 12 | 1.306 | 1.751 | 2 | 3.502 | LB
| 12 | -0.323 | -0.333 | 2 | -0.666 |  | 15 | 0.709 | 1.0075 | 3 | 3.0225
| 14 | -0.348 | -0.3355 | 2 | -0.671 |  | 18 | -0.208 | 0.2505 | 3 | 0.7515
| 16 | -0.371 | -0.3595 | 2 | -0.719 |  | 21 | -0.696 | -0.452 | 3 | -1.356
| 18 | -0.375 | -0.373 | 2 | -0.746 |  | 23.2 | -1.1 | -0.898 | 2.2 | -1.9756
| 20 | -0.378 | -0.3765 | 2 | -0.753 |  | 27 | -3 | -2.05 | 3.8 | -7.79
| 22 | -0.384 | -0.381 | 2 | -0.762 |  | 36 | -3 | -3 | 9 | -27
| 25 | -0.363 | -0.3735 | 3 | -1.1205 |  | 45 | -3 | -3 | 9 | -27 | CL
| 28 | -0.303 | -0.333 | 3 | -0.999 |  | 49 | -1 | -2 | 4 | -8
| 30 | -0.194 | -0.2485 | 2 | -0.497 |  | 50 | -0.694 | -0.847 | 1 | -0.847
| 32 | -0.133
| 34 | 0.006
| 36 | 0.192
| 38 | 2.106
| 40 | 3.252 | [9 empty] | RB
| 41 | 3.251 | [9 empty] | Footpat
| 41 | 2.937 | [9 empty] | BC road
| 50 | 2.992 | [9 empty] | Shop
Cross section of Pachuria khal 50 US from meeting point of Gabvita khal
| 0 | 3.687 | [9 empty] | B.wall
| 5 | 3.702 | 3.6945 | 5 | 18.4725 |  | 0 | 1.884
| 14 | 3.717 | 3.7095 | 9 | 33.3855 |  | 5 | 1.861 | 1.8725 | 5 | 9.3625 | BC road
| 15 | 3.692 | 3.7045 | 1 | 3.7045 |  | 10 | 1.809 | 1.835 | 5 | 9.175 | LB
| 17 | 2.106 | 2.899 | 2 | 5.798 |  | 12 | 1.129 | 1.469 | 2 | 2.938
| 19 | 1.106 | 1.606 | 2 | 3.212 |  | 15 | 0.308 | 0.7185 | 3 | 2.1555
| 21 | 0.592 | 0.849 | 2 | 1.698 |  | 20 | -0.281 | 0.0135 | 5 | 0.0675
| 23 | 0.367 | 0.4795 | 2 | 0.959 |  | 25 | -0.951 | -0.616 | 5 | -3.08
| 25 | 0.182 | 0.2745 | 2 | 0.549 |  | 25.22 | -1.1 | -1.0255 | 0.22 | -0.22561
| 27 | 0.006 | 0.094 | 2 | 0.188 |  | 29 | -2.99 | -2.045 | 3.78 | -7.7301
| 29 | -0.194 | -0.094 | 2 | -0.188 |  | 38 | -2.99 | -2.99 | 9 | -26.91
| 31 | -0.394 | -0.294 | 2 | -0.588 |  | 47 | -2.99 | -2.99 | 9 | -26.91
| 33 | -0.447 | -0.4205 | 2 | -0.841 |  | 51.38 | -0.8 | -1.895 | 4.38 | -8.3001 | CL
| 35 | -0.409 | -0.428 | 2 | -0.856 |  | 55 | -0.291 | -0.5455 | 3.62 | -1.9747
| 37 | -0.233 | -0.321 | 2 | -0.642 |  | 58 | -0.092 | -0.1915 | 3 | -0.5745
| 39 | -0.011
| 41 | 0.172 | -0.0305 | 4 | -0.122 |  | 60 | 0.701 | 0.3045 | 2 | 0.609
| 43 | 0.452
| 45 | 0.582
| 47 | 1.073
| 49 | 2.167
| 51 | 3.247 | [9 empty] | RB
| 52.2 | 3.246 | [9 empty] | Footpat
| 52.2 | 3.006 | [9 empty] | BC road
| 56 | 2.967 | [9 empty] | Shop
|  |  | 0.086 | -41 | -3.526 |  | 62 | 1.459 | 1.08 | 2 | 2.16
|  |  | 0 | 0 | 0 |  | 65 | 1.45 | 1.4545 | 3 | 4.3635
Cross section of Pachuria khal 50 DS from meeting point of Gabvita khal
|  |  |  | X - Section at km. |  | 0.2 | [6 empty] | 18
| Pre-work |  |  |  |  | . | Post-work
| 0 | 3.747 | [9 empty] | Shop
| 5 | 3.749 | 3.748 | 5 | 18.74
| 14 | 3.757 | 3.753 | 9 | 33.777 | [6 empty] | BC road
| 15 | 3.752 | 3.7545 | 1 | 3.7545 | [6 empty] | LB
| 17 | 2.401 | 3.0765 | 2 | 6.153
| 19 | 0.912 | 1.6565 | 2 | 3.313
| 21 | 0.673 | 0.7925 | 2 | 1.585 |  | 0 | 1.925
| 23 | 0.473 | 0.573 | 2 | 1.146 |  | 5 | 1.912 | 1.9185 | 5 | 9.5925
| 25 | 0.257 | 0.365 | 2 | 0.73 |  | 6.22 | 1.91 | 1.911 | 1.22 | 2.3314
| 27 | -0.043 | 0.107 | 2 | 0.214 |  | 16 | -2.98 | -0.535 | 9.78 | -5.2323
| 29 | -0.194 | -0.1185 | 2 | -0.237 |  | 25 | -2.98 | -2.98 | 9 | -26.82
| 31 | -0.405 | -0.2995 | 2 | -0.599 |  | 34 | -2.98 | -2.98 | 9 | -26.82
| 33 | -0.464 | -0.4345 | 2 | -0.869 |  | 44.06 | 2.05 | -0.465 | 10.06 | -4.6779 | CL
| 35 | -0.404 |  |  |  |  | 45 | 2.038 | 2.044 | 0.94 | 1.9214
| 37 | -0.209 |  |  |  |  | 50 | 2.025 | 2.0315 | 5 | 10.1575
| 39 | -0.027
| 41 | 0.262
| 43 | 0.432
| 45 | 0.706
| 47 | 0.867
| 49 | 2.067
| 51 | 3.206 | [9 empty] | RB
| 52 | 3.205 | [9 empty] | Footpat
| 52 | 2.867 | [9 empty] | BC road
| 57 | 2.862 | [9 empty] | Shop
(Md. Safiqul Islam Sheikh) Executive Enginee SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj
(Mohammad Zahir Mazhar) Sub-Divisional Engineer SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj
(Aminul Islam Sohag) Sub-Asstt. Engineer SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj

## Gabvita khal
Cross Section for Re-excavation Gavita khal from km. 0.000 to km. 4.053 in Polder no -01 in c/w Tarail-Pachuria Sub-Project under CRISP-WRM under Specialized Division, BWDB, Gopalganj during the year 2024-2025.
| X - Section at km. |  | 0
| Pre-work | [5 empty] | Post-work
| 0 | 3.209 | BC road
| 4 | 3.214 | LB | 3.2115 | 4 | 12.846 |  | 0 | 3.209
| 6 | 0.875 |  | 2.0445 | 2 | 4.089 |  | 4 | 3.214 | 3.2115 | 4 | 12.846
| 8 | 0.614 |  | 0.7445 | 2 | 1.489 |  | 6 | 0.875 | 2.0445 | 2 | 4.089
| 10 | 0.175 |  | 0.3945 | 2 | 0.789 |  | 8 | 0.614 | 0.7445 | 2 | 1.489
| 12 | -0.16 |  | 0.0075 | 2 | 0.015 |  | 12.671 | -2.5 | -0.943 | 4.671 | -4.4048
| 14 | -0.376 |  | -0.268 | 2 | -0.536 |  | 15.671 | -2.5 | -2.5 | 3 | -7.5
| 17 | -0.44 | CL | -0.408 | 3 | -1.224 |  | 18.671 | -2.5 | -2.5 | 3 | -7.5
| 20 | -0.385 |  | -0.4125 | 3 | -1.2375 |  | 22.271 | -0.1 | -1.3 | 3.6 | -4.68
| 22 | -0.186 |  | -0.2855 | 2 | -0.571 |  | 24 | 0.214 | 0.057 | 1.729 | 0.098553
| 24 | 0.214 |  | 0.014 | 2 | 0.028 |  | 26 | 0.514 | 0.364 | 2 | 0.728
| 26 | 0.514 |  | 0.364 | 2 | 0.728 |  | 28 | 0.76 | 0.637 | 2 | 1.274
| 28 | 0.76 |  | 0.637 | 2 | 1.274 |  | 30 | 3.114 | 1.937 | 2 | 3.874
| 30 | 3.114 | RB | 1.937 | 2 | 3.874 |  | 35 | 3.105 | 3.1095 | 5 | 15.5475
| 35 | 3.105 |  | 3.1095 | 5 | 15.5475 |  | 40 | 3.1 | 3.1025 | 5 | 15.5125
| 40 | 3.1 | Garden | 3.1025 | 5 | 15.5125
| X - Section at km. |  | 0.1
| Pre-work |  |  |  |  | . | Post-work
| 0 | 3.192 | BC road
| 4 | 3.187 | LB | 3.1895 | 4 | 12.758 |  | 0 | 3.192
| 6 | 0.147 |  | 1.667 | 2 | 3.334 |  | 8.538 | -2.5 | 0.346 | 8.538 | 2.9541
| 8 | -0.238 |  | -0.0455 | 2 | -0.091 |  | 11.538 | -2.5 | -2.5 | 3 | -7.5
| 10 | -0.43 |  | -0.334 | 2 | -0.668 |  | 14.538 | -2.5 | -2.5 | 3 | -7.5
| 11 | -0.488 | CL | -0.459 | 1 | -0.459 |  | 22.788 | 3 | 0.25 | 8.25 | 2.0625
| 12 | -0.432 |  | -0.46 | 1 | -0.46 |  | 26 | 3.027 | 3.0135 | 3.212 | 9.6794
| 14 | -0.199 |  | -0.3155 | 2 | -0.631
| 16 | 0.127 |  | -0.036 | 2 | -0.072
| 18 | 3.032 | RB | 1.5795 | 2 | 3.159
| 21 | 3.027 | HBB road | 3.0295 | 3 | 9.0885
| 26 | 3.027 |  | 3.027 | 5 | 15.135
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 0.2 | [9 empty] | 10.35
| Pre-work |  |  |  |  | . | Post-work
| 0 | 2.516 | BC road
| 4 | 2.527 | LB | 2.5215 | 4 | 10.086
| 6 | 0.047 |  | 1.287 | 2 | 2.574
| 8 | -0.439 |  | -0.196 | 2 | -0.392
| 10 | -0.666 |  | -0.5525 | 2 | -1.105
| 12 | -0.728 | CL | -0.697 | 2 | -1.394
| 14 | -0.673 |  | -0.7005 | 2 | -1.401 |  | 0 | 2.516
| 16 | -0.493 |  | -0.583 | 2 | -1.166 |  | 1 | 2.527 | 2.5215 | 1 | 2.5215
| 18 | -0.087 |  | -0.29 | 2 | -0.58 |  | 8.5405 | -2.5 | 0.0135 | 7.5405 | 0.1018
| 20 | 2.378 | RB | 1.1455 | 2 | 2.291 |  | 11.5405 | -2.5 | -2.5 | 3 | -7.5
| 23 | 2.377 | HBB road | 2.3775 | 3 | 7.1325 |  | 14.5405 | -2.5 | -2.5 | 3 | -7.5
| 24 | 1.447 |  | 1.912 | 1 | 1.912 |  | 21.8905 | 2.4 | -0.05 | 7.35 | -0.3675
| 30 | 1.437 | Poen land | 1.442 | 6 | 8.652 |  | 23 | 2.377 | 2.3885 | 1.1095 | 2.65
| X - Section at km. |  | 0.3 | [9 empty] | 9.6
| Pre-work |  |  |  |  | . | Post-work
| 0 | 2.377 | House
| 2 | 2.383 | BC road | 2.38 | 2 | 4.76
| 6 | 2.388 | LB | 2.3855 | 4 | 9.542
| 8 | 0.207 |  | 1.2975 | 2 | 2.595
| 10 | -0.187 |  | 0.01 | 2 | 0.02
| 12 | -0.338 |  | -0.2625 | 2 | -0.525
| 14 | -0.607 |  | -0.4725 | 2 | -0.945 |  | 0 | 2.377
| 14.5 | -0.661 | CL | -0.634 | 0.5 | -0.317 |  | 4 | 2.383 | 2.38 | 4 | 9.52
| 15 | -0.608 |  | -0.6345 | 0.5 | -0.31725 |  | 11.3245 | -2.5 | -0.0585 | 7.3245 | -0.42848
| 17 | -0.339 |  | -0.4735 | 2 | -0.947 |  | 14.3245 | -2.5 | -2.5 | 3 | -7.5
| 19 | -0.192 |  | -0.2655 | 2 | -0.531 |  | 17.3245 | -2.5 | -2.5 | 3 | -7.5
| 21 | 0.208 |  | 0.008 | 2 | 0.016 |  | 23.9245 | 1.9 | -0.3 | 6.6 | -1.98
| 23 | 1.941 | RB | 1.0745 | 2 | 2.149 |  | 26 | 1.928 | 1.914 | 2.0755 | 3.9725
| 26 | 1.928 | HBB ropad | 1.9345 | 3 | 5.8035 |  | 30 | 1.908 | 1.918 | 4 | 7.672
| 30 | 1.908 | Open land | 1.918 | 4 | 7.672
| X - Section at km. |  | 0.4
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 0
| 0 | 2.379 | Open land |  |  |  |  | 0 | 2.379
| 6 | 2.418 | BC road | 2.3985 | 6 | 14.391 |  | 6 | 2.418 | 2.3985 | 6 | 14.391
| 10 | 2.408 | LB | 2.413 | 4 | 9.652 |  | 7.5 | 2.408 | 2.413 | 1.5 | 3.6195
| 12 | -0.092 |  | 1.158 | 2 | 2.316 |  | 14.862 | -2.5 | -0.046 | 7.362 | -0.33865
| 14 | -0.446 |  | -0.269 | 2 | -0.538 |  | 17.862 | -2.5 | -2.5 | 3 | -7.5
| 16 | -0.686 |  | -0.566 | 2 | -1.132 |  | 20.862 | -2.5 | -2.5 | 3 | -7.5
| 18 | -0.756 | CL | -0.721 | 2 | -1.442 |  | 27.837 | 2.15 | -0.175 | 6.975 | -1.2206
| 20 | -0.692 |  | -0.724 | 2 | -1.448 |  | 30 | 2.164 | 2.157 | 2.163 | 4.6656
| 22 | -0.458 |  | -0.575 | 2 | -1.15
| 24 | -0.131 |  | -0.2945 | 2 | -0.589
| 26 | 2.153 | RB | 1.011 | 2 | 2.022
| 29 | 2.159 | HBB road | 2.156 | 3 | 6.468
| 30 | 2.164 | B.wall | 2.1615 | 1 | 2.1615
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 0.5
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 9.9
| 0 | 0.942 | Open land
| 5 | 1.047 |  | 0.9945 | 5 | 4.9725
| 6 | 2.141 | BC road | 1.594 | 1 | 1.594
| 10 | 2.153 | LB | 2.147 | 4 | 8.588
| 12 | -0.268 |  | 0.9425 | 2 | 1.885 |  | 0 | 0.942
| 14 | -0.514 |  | -0.391 | 2 | -0.782 |  | 5 | 1.047 | 0.9945 | 5 | 4.9725
| 16 | -0.708 |  | -0.611 | 2 | -1.222 |  | 6 | 2.141 | 1.594 | 1 | 1.594
| 17 | -0.763 | CL | -0.7355 | 1 | -0.7355 |  | 6.5 | 2.153 | 2.147 | 0.5 | 1.0735
| 18 | -0.718 |  | -0.7405 | 1 | -0.7405 |  | 13.4795 | -2.5 | -0.1735 | 6.9795 | -1.2109
| 20 | -0.529 |  | -0.6235 | 2 | -1.247 |  | 16.4795 | -2.5 | -2.5 | 3 | -7.5
| 22 | -0.27 |  | -0.3995 | 2 | -0.799 |  | 19.4795 | -2.5 | -2.5 | 3 | -7.5
| 24 | 2.105 | RB | 0.9175 | 2 | 1.835 |  | 26.3795 | 2.1 | -0.2 | 6.9 | -1.38
| 27 | 2.102 | HBB road | 2.1035 | 3 | 6.3105 |  | 27 | 2.102 | 2.101 | 0.6205 | 1.3037
| 28 | 2.096 | House | 2.099 | 1 | 2.099 |  | 28 | 2.096 | 2.099 | 1 | 2.099
| 29 | 2.096 |  | 2.096 | 1 | 2.096 |  | 29 | 2.096 | 2.096 | 1 | 2.096
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 0.6
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 0
| 0 | 2.171 | Open land |  |  |  |  | 0 | 2.171
| 4 | 2.18 | LB | 2.1755 | 4 | 8.702 |  | 1.5 | 2.18 | 2.1755 | 1.5 | 3.2633
| 6 | -0.22 |  | 0.98 | 2 | 1.96 |  | 8.52 | -2.5 | -0.16 | 7.02 | -1.1232
| 8 | -0.562 |  | -0.391 | 2 | -0.782 |  | 11.52 | -2.5 | -2.5 | 3 | -7.5
| 10 | -0.72 |  | -0.641 | 2 | -1.282 |  | 14.52 | -2.5 | -2.5 | 3 | -7.5
| 12 | -0.796 | CL | -0.758 | 2 | -1.516 |  | 20.22 | 1.3 | -0.6 | 5.7 | -3.42
| 14 | -0.734 |  | -0.765 | 2 | -1.53 |  | 22 | 1.331 | 1.3155 | 1.78 | 2.3416
| 16 | -0.52 |  | -0.627 | 2 | -1.254 |  | 26 | 2.275 | 1.803 | 4 | 7.212
| 18 | -0.234 |  | -0.377 | 2 | -0.754 |  | 29 | 2.271 | 2.273 | 3 | 6.819
| 20 | 1.276 | RB | 0.521 | 2 | 1.042
| 22 | 1.331 |  | 1.3035 | 2 | 2.607
| 26 | 2.275 |  | 1.803 | 4 | 7.212
| 29 | 2.271 | HBB road | 2.273 | 3 | 6.819
| X - Section at km. |  | 0.7
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 6
| 0 | 0.998 | Paddy land
| 5 | 0.993 |  | 0.9955 | 5 | 4.9775
| 10 | 0.988 | LB | 0.9905 | 5 | 4.9525
| 12 | -0.292 |  | 0.348 | 2 | 0.696
| 14 | -0.543 |  | -0.4175 | 2 | -0.835
| 16 | -0.757 |  | -0.65 | 2 | -1.3
| 17 | -0.815 | CL | -0.786 | 1 | -0.786 |  | 0 | 0.998
| 18 | -0.75 |  | -0.7825 | 1 | -0.7825 |  | 5 | 0.993 | 0.9955 | 5 | 4.9775
| 20 | -0.544 |  | -0.647 | 2 | -1.294 |  | 8 | 0.988 | 0.9905 | 3 | 2.9715
| 22 | -0.317 |  | -0.4305 | 2 | -0.861 |  | 13.232 | -2.5 | -0.756 | 5.232 | -3.9554
| 24 | 2.193 | RB | 0.938 | 2 | 1.876 |  | 16.232 | -2.5 | -2.5 | 3 | -7.5
| 27 | 2.194 | HBB road | 2.1935 | 3 | 6.5805 |  | 19.232 | -2.5 | -2.5 | 3 | -7.5
| 28 | 2.198 | B.wall | 2.196 | 1 | 2.196 |  | 26.267 | 2.19 | -0.155 | 7.035 | -1.0904
[8 empty] | 27 | 2.194 | 2.192 | 0.733 | 1.6067
[8 empty] | 28 | 2.198 | 2.196 | 1 | 2.196
| X - Section at km. |  | 0.8
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 7.4565
| 0 | 0.483 | Paddy land
| 5 | 0.476 |  | 0.4795 | 5 | 2.3975
| 10 | 0.471 | LB | 0.4735 | 5 | 2.3675
| 12 | -0.154 |  | 0.1585 | 2 | 0.317
| 14 | -0.529 |  | -0.3415 | 2 | -0.683
| 16 | -0.785 |  | -0.657 | 2 | -1.314
| 18 | -0.857 | CL | -0.821 | 2 | -1.642
| 20 | -0.784 |  | -0.8205 | 2 | -1.641 |  | 0 | 0.483
| 22 | -0.546 |  | -0.665 | 2 | -1.33 |  | 5 | 0.476 | 0.4795 | 5 | 2.3975
| 24 | -0.113 |  | -0.3295 | 2 | -0.659 |  | 10 | 0.471 | 0.4735 | 5 | 2.3675
| 26 | 2.301 |  | 1.094 | 2 | 2.188 |  | 14.4565 | -2.5 | -1.0145 | 4.4565 | -4.5211
| 29 | 2.296 | HBB road | 2.2985 | 3 | 6.8955 |  | 17.4565 | -2.5 | -2.5 | 3 | -7.5
| 30 | 0.564 |  | 1.43 | 1 | 1.43 |  | 20.4565 | -2.5 | -2.5 | 3 | -7.5
| 35 | 0.546 | Paddy land | 0.555 | 5 | 2.775 |  | 27.5815 | 2.25 | -0.125 | 7.125 | -0.89062
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 0.9
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 6.426
| 0 | 1.029 | Paddy land
| 5 | 1.024 |  | 1.0265 | 5 | 5.1325
| 10 | 1.019 | LB | 1.0215 | 5 | 5.1075
| 12 | -0.216 |  | 0.4015 | 2 | 0.803
| 14 | -0.433 |  | -0.3245 | 2 | -0.649
| 16 | -0.665 |  | -0.549 | 2 | -1.098
| 18 | -0.832 |  | -0.7485 | 2 | -1.497 |  | 0 | 1.029
| 19 | -0.908 | CL | -0.87 | 1 | -0.87 |  | 5 | 1.024 | 1.0265 | 5 | 5.1325
| 20 | -0.846 |  | -0.877 | 1 | -0.877 |  | 10 | 1.019 | 1.0215 | 5 | 5.1075
| 22 | -0.663 |  | -0.7545 | 2 | -1.509 |  | 12 | -0.216 | 0.4015 | 2 | 0.803
| 24 | -0.432 |  | -0.5475 | 2 | -1.095 |  | 15.426 | -2.5 | -1.358 | 3.426 | -4.6525
| 26 | -0.209 |  | -0.3205 | 2 | -0.641 |  | 18.426 | -2.5 | -2.5 | 3 | -7.5
| 28 | 1.602 | RB | 0.6965 | 2 | 1.393 |  | 21.426 | -2.5 | -2.5 | 3 | -7.5
| 30 | 1.601 |  | 1.6015 | 2 | 3.203 |  | 27.576 | 1.6 | -0.45 | 6.15 | -2.7675
| 31 | -0.137 |  | 0.732 | 1 | 0.732 |  | 28 | 1.602 | 1.601 | 0.424 | 0.67882
| 33 | -0.532 |  | -0.3345 | 2 | -0.669 |  | 30 | 1.601 | 1.6015 | 2 | 3.203
| 35 | -0.686 | Ditch | -0.609 | 2 | -1.218 |  | 31 | -0.137 | 0.732 | 1 | 0.732
| X - Section at km. |  | 1
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 6.414
| 0 | 0.591 | Paddy land
| 5 | 0.586 |  | 0.5885 | 5 | 2.9425
| 10 | 0.581 | LB | 0.5835 | 5 | 2.9175
| 12 | -0.224 |  | 0.1785 | 2 | 0.357
| 14 | -0.477 |  | -0.3505 | 2 | -0.701
| 16 | -0.67 |  | -0.5735 | 2 | -1.147
| 18 | -0.859 |  | -0.7645 | 2 | -1.529 |  | 0 | 0.591
| 19 | -0.959 | CL | -0.909 | 1 | -0.909 |  | 5 | 0.586 | 0.5885 | 5 | 2.9425
| 20 | -0.9 |  | -0.9295 | 1 | -0.9295 |  | 10 | 0.581 | 0.5835 | 5 | 2.9175
| 22 | -0.671 |  | -0.7855 | 2 | -1.571 |  | 12 | -0.224 | 0.1785 | 2 | 0.357
| 24 | -0.484 |  | -0.5775 | 2 | -1.155 |  | 15.414 | -2.5 | -1.362 | 3.414 | -4.6499
| 26 | -0.27 |  | -0.377 | 2 | -0.754 |  | 18.414 | -2.5 | -2.5 | 3 | -7.5
| 28 | 1.491 | RB | 0.6105 | 2 | 1.221 |  | 21.414 | -2.5 | -2.5 | 3 | -7.5
| 30 | 1.486 |  | 1.4885 | 2 | 2.977 |  | 24.489 | -0.45 | -1.475 | 3.075 | -4.5356
| 31 | 0.625 |  | 1.0555 | 1 | 1.0555 |  | 26 | -0.27 | -0.36 | 1.511 | -0.54396
| 34 | 0.621 |  | 0.623 | 3 | 1.869 |  | 28 | 1.491 | 0.6105 | 2 | 1.221
| 40 | 0.586 | Paddy land | 0.6035 | 6 | 3.621 |  | 30 | 1.486 | 1.4885 | 2 | 2.977
| X - Section at km. |  | 1.1
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 4
| 0 | 0.678 | Paddy land
| 5 | 0.688 |  | 0.683 | 5 | 3.415
| 10 | 0.693 | LB | 0.6905 | 5 | 3.4525
| 12 | -0.058 |  | 0.3175 | 2 | 0.635
| 14 | -0.407 |  | -0.2325 | 2 | -0.465
| 16 | -0.691 |  | -0.549 | 2 | -1.098
| 18 | -0.898 |  | -0.7945 | 2 | -1.589
| 20 | -0.947 | CL | -0.9225 | 2 | -1.845 |  | 0 | 0.678
| 22 | -0.891 |  | -0.919 | 2 | -1.838 |  | 5 | 0.688 | 0.683 | 5 | 3.415
| 24 | -0.692 |  | -0.7915 | 2 | -1.583 |  | 10 | 0.693 | 0.6905 | 5 | 3.4525
| 26 | -0.432 |  | -0.562 | 2 | -1.124 |  | 12 | -0.058 | 0.3175 | 2 | 0.635
| 28 | -0.112 |  | -0.272 | 2 | -0.544 |  | 14 | -0.407 | -0.2325 | 2 | -0.465
| 30 | 1.313 |  | 0.6005 | 2 | 1.201 |  | 17.1395 | -2.5 | -1.4535 | 3.1395 | -4.5633
| 32 | 1.308 | HBB road | 1.3105 | 2 | 2.621 |  | 20.1395 | -2.5 | -2.5 | 3 | -7.5
| 35 | 1.203 |  | 1.2555 | 3 | 3.7665 |  | 23.1395 | -2.5 | -2.5 | 3 | -7.5
| 40 | 1.178 | Open land | 1.1905 | 5 | 5.9525 |  | 26.2895 | -0.4 | -1.45 | 3.15 | -4.5675
| X - Section at km. |  | 1.2
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 6.928
| 0 | 0.792 | Paddy land
| 7 | 0.787 |  | 0.7895 | 7 | 5.5265
| 8 | 1.457 |  | 1.122 | 1 | 1.122
| 10 | 1.452 | LB | 1.4545 | 2 | 2.909
| 12 | -0.293 |  | 0.5795 | 2 | 1.159
| 14 | -0.544 |  | -0.4185 | 2 | -0.837
| 16 | -0.814 |  | -0.679 | 2 | -1.358
| 18 | -0.873 | CL | -0.8435 | 2 | -1.687 |  | 0 | 0.792
| 20 | -0.811 |  | -0.842 | 2 | -1.684 |  | 7 | 0.787 | 0.7895 | 7 | 5.5265
| 22 | -0.553 |  | -0.682 | 2 | -1.364 |  | 8 | 1.457 | 1.122 | 1 | 1.122
| 24 | -0.288 |  | -0.4205 | 2 | -0.841 |  | 9 | 1.452 | 1.4545 | 1 | 1.4545
| 26 | 1.487 | RB | 0.5995 | 2 | 1.199 |  | 14.928 | -2.5 | -0.524 | 5.928 | -3.1063
| 28 | 1.482 | HBB road | 1.4845 | 2 | 2.969 |  | 17.928 | -2.5 | -2.5 | 3 | -7.5
| 29 | 0.757 |  | 1.1195 | 1 | 1.1195 |  | 20.928 | -2.5 | -2.5 | 3 | -7.5
| 30 | 0.742 |  | 0.7495 | 1 | 0.7495 |  | 26.898 | 1.48 | -0.51 | 5.97 | -3.0447
| 35 | 0.737 | Paddy land | 0.7395 | 5 | 3.6975 |  | 28 | 1.482 | 1.481 | 1.102 | 1.6321
| X - Section at km. |  | 1.3
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 9.048
| 0 | 0.807 | Open land
| 7 | 0.802 |  | 0.8045 | 7 | 5.6315
| 8 | 1.532 |  | 1.167 | 1 | 1.167
| 10 | 1.527 | LB | 1.5295 | 2 | 3.059
| 12 | -0.293 |  | 0.617 | 2 | 1.234
| 14 | -0.544 |  | -0.4185 | 2 | -0.837
| 16 | -0.741 |  | -0.6425 | 2 | -1.285
| 17 | -0.793 | CL | -0.767 | 1 | -0.767 |  | 0 | 0.807
| 18 | -0.744 |  | -0.7685 | 1 | -0.7685 |  | 7 | 0.802 | 0.8045 | 7 | 5.6315
| 20 | -0.558 |  | -0.651 | 2 | -1.302 |  | 8 | 1.532 | 1.167 | 1 | 1.167
| 22 | -0.294 |  | -0.426 | 2 | -0.852 |  | 14.048 | -2.5 | -0.484 | 6.048 | -2.9272
| 24 | 1.456 | RB | 0.581 | 2 | 1.162 |  | 17.048 | -2.5 | -2.5 | 3 | -7.5
| 26 | 1.441 |  | 1.4485 | 2 | 2.897 |  | 20.048 | -2.5 | -2.5 | 3 | -7.5
| 27 | 0.756 |  | 1.0985 | 1 | 1.0985 |  | 25.973 | 1.45 | -0.525 | 5.925 | -3.1106
| 30 | 0.752 |  | 0.754 | 3 | 2.262 |  | 26 | 1.441 | 1.4455 | 0.027 | 0.039028
| 35 | 0.747 | Paddy land | 0.7495 | 5 | 3.7475 |  | 27 | 0.756 | 1.0985 | 1 | 1.0985
| X - Section at km. |  | 1.4
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 7.3275
| 0 | 0.73 | Paddy land
| 6 | 0.729 |  | 0.7295 | 6 | 4.377
| 7 | 1.39 |  | 1.0595 | 1 | 1.0595
| 10 | 1.385 | LB | 1.3875 | 3 | 4.1625
| 12 | -0.066 |  | 0.6595 | 2 | 1.319
| 14 | -0.366 |  | -0.216 | 2 | -0.432
| 16 | -0.706 |  | -0.536 | 2 | -1.072
| 17 | -0.795 | CL | -0.7505 | 1 | -0.7505 |  | 0 | 0.73
| 18 | -0.7 |  | -0.7475 | 1 | -0.7475 |  | 6 | 0.729 | 0.7295 | 6 | 4.377
| 20 | -0.505 |  | -0.6025 | 2 | -1.205 |  | 7 | 1.39 | 1.0595 | 1 | 1.0595
| 22 | -0.22 |  | -0.3625 | 2 | -0.725 |  | 8.5 | 1.385 | 1.3875 | 1.5 | 2.0812
| 24 | 1.334 | RB | 0.557 | 2 | 1.114 |  | 14.3275 | -2.5 | -0.5575 | 5.8275 | -3.2488
| 27 | 1.32 |  | 1.327 | 3 | 3.981 |  | 17.3275 | -2.5 | -2.5 | 3 | -7.5
| 28 | 0.634 |  | 0.977 | 1 | 0.977 |  | 20.3275 | -2.5 | -2.5 | 3 | -7.5
| 35 | 0.63 | Paddy land | 0.632 | 7 | 4.424 |  | 26.1025 | 1.35 | -0.575 | 5.775 | -3.3206
| X - Section at km. |  | 1.5
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | -40
| 0 | 0.63 | Paddy land
| 6 | 0.625 |  | 0.6275 | 6 | 3.765 |  | 0 | 0.63
| 7 | 1.432 |  | 1.0285 | 1 | 1.0285 |  | 6 | 0.625 | 0.6275 | 6 | 3.765
| 10 | 1.433 | LB | 1.4325 | 3 | 4.2975 |  | 7 | 1.432 | 1.0285 | 1 | 1.0285
| 12 | -0.12 |  | 0.6565 | 2 | 1.313 |  | 9 | 1.433 | 1.4325 | 2 | 2.865
| 14 | -0.415 |  | -0.2675 | 2 | -0.535 |  | 14.8995 | -2.5 | -0.5335 | 5.8995 | -3.1474
| 16 | -0.667 |  | -0.541 | 2 | -1.082 |  | 17.8995 | -2.5 | -2.5 | 3 | -7.5
| 18 | -0.725 | CL | -0.696 | 2 | -1.392 |  | 20.8995 | -2.5 | -2.5 | 3 | -7.5
| 20 | -0.666 |  | -0.6955 | 2 | -1.391 |  | 26.6745 | 1.35 | -0.575 | 5.775 | -3.3206
| 22 | -0.41 |  | -0.538 | 2 | -1.076 |  | 29 | 1.33 | 1.34 | 2.3255 | 3.1162
| 24 | -0.123 |  | -0.2665 | 2 | -0.533 |  | 30 | 0.729 | 1.0295 | 1 | 1.0295
| 26 | 1.335 | RB | 0.606 | 2 | 1.212 |  | 35 | 0.735 | 0.732 | 5 | 3.66
| 29 | 1.33 |  | 1.3325 | 3 | 3.9975 |  | 40 | 0.74 | 0.7375 | 5 | 3.6875
| 30 | 0.729 |  | 1.0295 | 1 | 1.0295
| 35 | 0.735 |  | 0.732 | 5 | 3.66
| 40 | 0.74 | Paddy land | 0.7375 | 5 | 3.6875
| X - Section at km. |  | 1.6
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 10
| 0 | 1.514 | Paddy land
| 5 | 1.534 |  | 1.524 | 5 | 7.62
| 10 | 1.549 | LB | 1.5415 | 5 | 7.7075
| 12 | 0.198 |  | 0.8735 | 2 | 1.747
| 14 | -0.102 |  | 0.048 | 2 | 0.096
| 16 | -0.346 |  | -0.224 | 2 | -0.448 |  | 0 | 1.514
| 18 | -0.572 |  | -0.459 | 2 | -0.918 |  | 5 | 1.534 | 1.524 | 5 | 7.62
| 19 | -0.631 | CL | -0.6015 | 1 | -0.6015 |  | 10 | 1.549 | 1.5415 | 5 | 7.7075
| 20 | -0.576 |  | -0.6035 | 1 | -0.6035 |  | 16.0735 | -2.5 | -0.4755 | 6.0735 | -2.8879
| 22 | -0.356 |  | -0.466 | 2 | -0.932 |  | 19.0735 | -2.5 | -2.5 | 3 | -7.5
| 24 | -0.156 |  | -0.256 | 2 | -0.512 |  | 22.0735 | -2.5 | -2.5 | 3 | -7.5
| 26 | 0.165 |  | 0.0045 | 2 | 0.009 |  | 27.9835 | 1.44 | -0.53 | 5.91 | -3.1323
| 28 | 1.498 | RB | 0.8315 | 2 | 1.663 |  | 30 | 1.444 | 1.442 | 2.0165 | 2.9078
| 30 | 1.444 |  | 1.471 | 2 | 2.942 |  | 35 | 1.424 | 1.434 | 5 | 7.17
| 35 | 1.424 |  | 1.434 | 5 | 7.17 |  | 40 | 1.404 | 1.414 | 5 | 7.07
| 40 | 1.404 | Paddy land | 1.414 | 5 | 7.07
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 1.7
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | -35
| 0 | 1.077 | Paddy land
| 5 | 1.103 |  | 1.09 | 5 | 5.45
| 5.5 | 1.123 |  | 1.113 | 0.5 | 0.5565
| 10 | 1.148 | LB | 1.1355 | 4.5 | 5.1098 |  | 0 | 1.077
| 12 | 0.144 |  | 0.646 | 2 | 1.292 |  | 5 | 1.103 | 1.09 | 5 | 5.45
| 14 | -0.123 |  | 0.0105 | 2 | 0.021 |  | 5.5 | 1.123 | 1.113 | 0.5 | 0.5565
| 16 | -0.33 |  | -0.2265 | 2 | -0.453 |  | 9 | 1.148 | 1.1355 | 3.5 | 3.9742
| 18 | -0.386 | CL | -0.358 | 2 | -0.716 |  | 14.472 | -2.5 | -0.676 | 5.472 | -3.6991
| 20 | -0.327 |  | -0.3565 | 2 | -0.713 |  | 17.472 | -2.5 | -2.5 | 3 | -7.5
| 22 | -0.172 |  | -0.2495 | 2 | -0.499 |  | 20.472 | -2.5 | -2.5 | 3 | -7.5
| 24 | 0.123 |  | -0.0245 | 2 | -0.049 |  | 26.097 | 1.25 | -0.625 | 5.625 | -3.5156
| 26 | 1.253 | RB | 0.688 | 2 | 1.376 |  | 30 | 1.248 | 1.249 | 3.903 | 4.8748
| 30 | 1.248 |  | 1.2505 | 4 | 5.002 |  | 35 | 1.243 | 1.2455 | 5 | 6.2275
| 35 | 1.243 |  | 1.2455 | 5 | 6.2275 |  | 40 | 1.128 | 1.1855 | 5 | 5.9275
| 40 | 1.128 | Paddy land | 1.1855 | 5 | 5.9275
| X - Section at km. |  | 1.8
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 5
| 0 | 0.623 | Paddy land
| 5 | 0.638 |  | 0.6305 | 5 | 3.1525
| 5.5 | 1.223 |  | 0.9305 | 0.5 | 0.46525
| 10 | 1.228 | LB | 1.2255 | 4.5 | 5.5148
| 12 | 0.123 |  | 0.6755 | 2 | 1.351 |  | 0 | 0.623
| 14 | -0.023 |  | 0.05 | 2 | 0.1 |  | 5 | 0.638 | 0.6305 | 5 | 3.1525
| 16 | -0.256 |  | -0.1395 | 2 | -0.279 |  | 5.5 | 1.223 | 0.9305 | 0.5 | 0.46525
| 18 | -0.372 | CL | -0.314 | 2 | -0.628 |  | 9.5 | 1.228 | 1.2255 | 4 | 4.902
| 20 | -0.273 |  | -0.3225 | 2 | -0.645 |  | 15.092 | -2.5 | -0.636 | 5.592 | -3.5565
| 22 | -0.097 |  | -0.185 | 2 | -0.37 |  | 18.092 | -2.5 | -2.5 | 3 | -7.5
| 24 | 0.123 |  | 0.013 | 2 | 0.026 |  | 21.092 | -2.5 | -2.5 | 3 | -7.5
| 26 | 1.177 | RB | 0.65 | 2 | 1.3 |  | 26.597 | 1.17 | -0.665 | 5.505 | -3.6608
| 30 | 1.173 |  | 1.175 | 4 | 4.7 |  | 30 | 1.173 | 1.1715 | 3.403 | 3.9866
| 30.5 | 0.628 |  | 0.9005 | 0.5 | 0.45025 |  | 30.5 | 0.628 | 0.9005 | 0.5 | 0.45025
| 35 | 0.633 |  | 0.6305 | 4.5 | 2.8373 |  | 35 | 0.633 | 0.6305 | 4.5 | 2.8373
| 40 | 0.638 | Paddy land | 0.6355 | 5 | 3.1775 |  | 40 | 0.638 | 0.6355 | 5 | 3.1775
| X - Section at km. |  | 1.9
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 0.868 | Paddy land
| 5 | 0.871 |  | 0.8695 | 5 | 4.3475
| 5.5 | 1.251 |  | 1.061 | 0.5 | 0.5305
| 10 | 1.255 | LB | 1.253 | 4.5 | 5.6385
| 12 | 0.301 |  | 0.778 | 2 | 1.556
| 14 | 0.111 |  | 0.206 | 2 | 0.412 |  | 0 | 0.868
| 16 | -0.055 |  | 0.028 | 2 | 0.056 |  | 5 | 0.871 | 0.8695 | 5 | 4.3475
| 17 | -0.119 | CL | -0.087 | 1 | -0.087 |  | 5.5 | 1.251 | 1.061 | 0.5 | 0.5305
| 18 | -0.052 |  | -0.0855 | 1 | -0.0855 |  | 8.5 | 1.255 | 1.253 | 3 | 3.759
| 20 | 0.155 |  | 0.0515 | 2 | 0.103 |  | 14.1325 | -2.5 | -0.6225 | 5.6325 | -3.5062
| 22 | 0.281 |  | 0.218 | 2 | 0.436 |  | 17.1325 | -2.5 | -2.5 | 3 | -7.5
| 24 | 1.276 | RB | 0.7785 | 2 | 1.557 |  | 20.1325 | -2.5 | -2.5 | 3 | -7.5
| 26 | 1.281 |  | 1.2785 | 2 | 2.557 |  | 25.8025 | 1.28 | -0.61 | 5.67 | -3.4587
| 30 | 1.286 | House side | 1.2835 | 4 | 5.134 |  | 30 | 1.286 | 1.283 | 4.1975 | 5.3854
| X - Section at km. |  | 2
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 1.001 | Paddy land
| 5 | 1.006 |  | 1.0035 | 5 | 5.0175
| 5.5 | 1.511 |  | 1.2585 | 0.5 | 0.62925
| 10 | 1.506 | LB | 1.5085 | 4.5 | 6.7882
| 12 | 0.4 |  | 0.953 | 2 | 1.906 |  | 0 | 1.001
| 14 | 0.155 |  | 0.2775 | 2 | 0.555 |  | 5 | 1.006 | 1.0035 | 5 | 5.0175
| 16 | -0.036 |  | 0.0595 | 2 | 0.119 |  | 5.5 | 1.511 | 1.2585 | 0.5 | 0.62925
| 17 | -0.084 | CL | -0.06 | 1 | -0.06 |  | 8 | 1.506 | 1.5085 | 2.5 | 3.7712
| 18 | -0.035 |  | -0.0595 | 1 | -0.0595 |  | 14.009 | -2.5 | -0.497 | 6.009 | -2.9865
| 20 | 0.116 |  | 0.0405 | 2 | 0.081 |  | 17.009 | -2.5 | -2.5 | 3 | -7.5
| 22 | 0.381 |  | 0.2485 | 2 | 0.497 |  | 20.009 | -2.5 | -2.5 | 3 | -7.5
| 24 | 1.255 | RB | 0.818 | 2 | 1.636 |  | 25.679 | 1.28 | -0.61 | 5.67 | -3.4587
| 30 | 1.246 |  | 1.2505 | 6 | 7.503 |  | 30 | 1.246 | 1.263 | 4.321 | 5.4574
| 35 | 1.231 | Paddy land | 1.2385 | 5 | 6.1925 |  | 35 | 1.231 | 1.2385 | 5 | 6.1925
| X - Section at km. |  | 2.1
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 0.551 | Paddy land
| 5 | 0.56 |  | 0.5555 | 5 | 2.7775
| 8 | 0.565 |  | 0.5625 | 3 | 1.6875
| 9 | 2.21 |  | 1.3875 | 1 | 1.3875
| 10 | 2.201 | LB | 2.2055 | 1 | 2.2055
| 11 | 0.501 |  | 1.351 | 1 | 1.351
| 13 | 0.25 |  | 0.3755 | 2 | 0.751
| 15 | 0.173 |  | 0.2115 | 2 | 0.423
| 17 | 0.121 | CL | 0.147 | 2 | 0.294 |  | 0 | 0.551
| 19 | 0.176 |  | 0.1485 | 2 | 0.297 |  | 5 | 0.56 | 0.5555 | 5 | 2.7775
| 21 | 0.41 |  | 0.293 | 2 | 0.586 |  | 8 | 0.565 | 0.5625 | 3 | 1.6875
| 23 | 0.476 |  | 0.443 | 2 | 0.886 |  | 12.5975 | -2.5 | -0.9675 | 4.5975 | -4.4481
| 24 | 2.249 | RB | 1.3625 | 1 | 1.3625 |  | 15.5975 | -2.5 | -2.5 | 3 | -7.5
| 28 | 2.245 | BC road | 2.247 | 4 | 8.988 |  | 18.5975 | -2.5 | -2.5 | 3 | -7.5
| X - Section at km. |  | 2.2
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 9.6575
| 0 | 2.395 | B.wall
| 2.5 | 2.389 | LB | 2.392 | 2.5 | 5.98
| 4.5 | 0.09 |  | 1.2395 | 2 | 2.479
| 6 | 0.005 |  | 0.0475 | 1.5 | 0.07125
| 7 | -0.01 | CL | -0.0025 | 1 | -0.0025
| 8 | 0.019 |  | 0.0045 | 1 | 0.0045
| 9.5 | 0.085 |  | 0.052 | 1.5 | 0.078
| 11.5 | 1.899 | RB | 0.992 | 2 | 1.984
| 15.5 | 1.985 | BC road | 1.942 | 4 | 7.768
| 16 | 1.994 | B.wall | 1.9895 | 0.5 | 0.99475 |  | 0 | 2.395
| 23 | 1.994 |  | 1.994 | 7 | 13.958 |  | 7.3425 | -2.5 | -0.0525 | 7.3425 | -0.38548
[8 empty] | 10.3425 | -2.5 | -2.5 | 3 | -7.5
[8 empty] | 13.3425 | -2.5 | -2.5 | 3 | -7.5
[8 empty] | 20.0625 | 1.98 | -0.26 | 6.72 | -1.7472
[8 empty] | 23 | 1.994 | 1.987 | 2.9375 | 5.8368
| X - Section at km. |  | 2.3
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 0.939 | Paddy land
| 6 | 0.989 |  | 0.964 | 6 | 5.784
| 8 | 2.484 | BC road | 1.7365 | 2 | 3.473 |  | 0 | 0.939
| 10 | 2.489 | LB | 2.4865 | 2 | 4.973 |  | 6 | 0.989 | 0.964 | 6 | 5.784
| 12 | 0.343 |  | 1.416 | 2 | 2.832 |  | 11.2335 | -2.5 | -0.7555 | 5.2335 | -3.9539
| 13 | 0.153 |  | 0.248 | 1 | 0.248 |  | 14.2335 | -2.5 | -2.5 | 3 | -7.5
| 14 | 0.112 |  | 0.1325 | 1 | 0.1325 |  | 17.2335 | -2.5 | -2.5 | 3 | -7.5
| 15 | 0.054 | CL | 0.083 | 1 | 0.083 |  | 23.9535 | 1.98 | -0.26 | 6.72 | -1.7472
| 16 | 0.113 |  | 0.0835 | 1 | 0.0835 |  | 25 | 1.989 | 1.9845 | 1.0465 | 2.0768
| 17 | 0.152 |  | 0.1325 | 1 | 0.1325 |  | 26 | 1.989 | 1.989 | 1 | 1.989
| 18 | 0.289 |  | 0.2205 | 1 | 0.2205
| 20 | 1.966 | RB | 1.1275 | 2 | 2.255
| 25 | 1.989 | BC road | 1.9775 | 5 | 9.8875
| 26 | 1.989 |  | 1.989 | 1 | 1.989
| X - Section at km. |  | 2.4
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.719 | B.wall
| 0.58 | 2.712 | BC road | 2.7155 | 0.58 | 1.575
| 3 | 2.702 | LB | 2.707 | 2.42 | 6.5509
| 5 | 0.551 |  | 1.6265 | 2 | 3.253
| 6 | 0.416 |  | 0.4835 | 1 | 0.4835 |  | 0 | 2.719
| 7 | 0.337 |  | 0.3765 | 1 | 0.3765 |  | 7.8285 | -2.5 | 0.1095 | 7.8285 | 0.85722
| 8 | 0.317 | CL | 0.327 | 1 | 0.327 |  | 10.8285 | -2.5 | -2.5 | 3 | -7.5
| 9 | 0.335 |  | 0.326 | 1 | 0.326 |  | 13.8285 | -2.5 | -2.5 | 3 | -7.5
| 10 | 0.415 |  | 0.375 | 1 | 0.375 |  | 20.8485 | 2.18 | -0.16 | 7.02 | -1.1232
| 11 | 0.532 |  | 0.4735 | 1 | 0.4735 |  | 22 | 2.187 | 2.1835 | 1.1515 | 2.5143
| 13 | 2.179 | RB | 1.3555 | 2 | 2.711
| 17 | 2.187 | BC road | 2.183 | 4 | 8.732
| 18 | 2.187 | B.wall | 2.187 | 1 | 2.187
| 22 | 2.187 |  | 2.187 | 4 | 8.748
| X - Section at km. |  | 2.5
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.767 | House
| 8 | 2.762 | RCC road | 2.7645 | 8 | 22.116
| 10 | 2.707 | LB | 2.7345 | 2 | 5.469
| 12 | 0.417 |  | 1.562 | 2 | 3.124
| 14 | 0.327 |  | 0.372 | 2 | 0.744
| 15 | 0.254 |  | 0.2905 | 1 | 0.2905 |  | 0 | 2.767
| 16 | 0.22 | CL | 0.237 | 1 | 0.237 |  | 4.5 | 2.762 | 2.7645 | 4.5 | 12.4402
| 17 | 0.247 |  | 0.2335 | 1 | 0.2335 |  | 12.393 | -2.5 | 0.131 | 7.893 | 1.034
| 18 | 0.332 |  | 0.2895 | 1 | 0.2895 |  | 15.393 | -2.5 | -2.5 | 3 | -7.5
| 20 | 1.416 |  | 0.874 | 2 | 1.748 |  | 18.393 | -2.5 | -2.5 | 3 | -7.5
| 22 | 2.232 | RB | 1.824 | 2 | 3.648 |  | 25.413 | 2.18 | -0.16 | 7.02 | -1.1232
| 27 | 2.227 | BC road | 2.2295 | 5 | 11.1475 |  | 27 | 2.227 | 2.2035 | 1.587 | 3.497
| 28 | 2.222 | House | 2.2245 | 1 | 2.2245 |  | 28 | 2.222 | 2.2245 | 1 | 2.2245
| X - Section at km. |  | 2.6
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 0
| 0 | 2.513 | House
| 3 | 2.508 | LB | 2.5105 | 3 | 7.5315
| 5 | 0.383 |  | 1.4455 | 2 | 2.891
| 7 | 0.303 |  | 0.343 | 2 | 0.686
| 8 | 0.233 |  | 0.268 | 1 | 0.268 |  | 0 | 2.513
| 9 | 0.198 | CL | 0.2155 | 1 | 0.2155 |  | 7.5195 | -2.5 | 0.0065 | 7.5195 | 0.048877
| 10 | 0.236 |  | 0.217 | 1 | 0.217 |  | 10.5195 | -2.5 | -2.5 | 3 | -7.5
| 11 | 0.291 |  | 0.2635 | 1 | 0.2635 |  | 13.5195 | -2.5 | -2.5 | 3 | -7.5
| 13 | 0.388 |  | 0.3395 | 2 | 0.679 |  | 20.9595 | 2.46 | -0.02 | 7.44 | -0.1488
| 15 | 2.418 | RB | 1.403 | 2 | 2.806 |  | 22 | 2.416 | 2.438 | 1.0405 | 2.5367
| 17 | 2.416 | BC road | 2.417 | 2 | 4.834
| 22 | 2.416 |  | 2.416 | 5 | 12.08
| X - Section at km. |  | 2.7
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.663 | RCC road
| 4 | 2.652 | RLB | 2.6575 | 4 | 10.63
| 6 | 0.903 |  | 1.7775 | 2 | 3.555
| 8 | 0.783 |  | 0.843 | 2 | 1.686
| 10 | 0.666 |  | 0.7245 | 2 | 1.449
| 10.5 | 0.638 | CL | 0.652 | 0.5 | 0.326
| 11 | 0.667 |  | 0.6525 | 0.5 | 0.32625
| 13 | 0.793 |  | 0.73 | 2 | 1.46 |  | 0 | 2.663
| 15 | 0.918 |  | 0.8555 | 2 | 1.711 |  | 7.7445 | -2.5 | 0.0815 | 7.7445 | 0.63118
| 17 | 2.7 | RB | 1.809 | 2 | 3.618 |  | 10.7445 | -2.5 | -2.5 | 3 | -7.5
| 18.2 | 2.701 |  | 2.7005 | 1.2 | 3.2406 |  | 13.7445 | -2.5 | -2.5 | 3 | -7.5
| 18.2 | 2.371 | BC road | 2.536 | 0 | 0 |  | 21.1845 | 2.46 | -0.02 | 7.44 | -0.1488
| 22.5 | 2.403 | B.wall | 2.387 | 4.3 | 10.2641 |  | 22.5 | 2.403 | 2.4315 | 1.3155 | 3.1986
| X - Section at km. |  | 2.8
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 6
| 0 | 2.945 | House
| 4 | 2.951 | LB | 2.948 | 4 | 11.792
| 6 | 0.785 |  | 1.868 | 2 | 3.736
| 8 | 0.705 |  | 0.745 | 2 | 1.49
| 10 | 0.649 |  | 0.677 | 2 | 1.354
| 11 | 0.579 |  | 0.614 | 1 | 0.614
| 11.5 | 0.549 | CL | 0.564 | 0.5 | 0.282
| 12 | 0.588 |  | 0.5685 | 0.5 | 0.28425
| 13 | 0.64 |  | 0.614 | 1 | 0.614
| 15 | 0.718 |  | 0.679 | 2 | 1.358
| 17 | 0.779 |  | 0.7485 | 2 | 1.497 |  | 0 | 2.945
| 19 | 2.949 | RB | 1.864 | 2 | 3.728 |  | 1 | 2.951 | 2.948 | 1 | 2.948
| 20.2 | 2.948 |  | 2.9485 | 1.2 | 3.5382 |  | 9.1765 | -2.5 | 0.2255 | 8.1765 | 1.8438
| 22 | 2.825 | BC road | 2.8865 | 1.8 | 5.1957 |  | 12.1765 | -2.5 | -2.5 | 3 | -7.5
| 25 | 2.86 | B.wall | 2.8425 | 3 | 8.5275 |  | 15.1765 | -2.5 | -2.5 | 3 | -7.5
| X - Section at km. |  | 2.9
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 11.43
| 0 | 3.09 | B.wall
| 4 | 3.085 | LB | 3.0875 | 4 | 12.35
| 6 | 0.835 |  | 1.96 | 2 | 3.92
| 8 | 0.705 |  | 0.77 | 2 | 1.54
| 10 | 0.665 |  | 0.685 | 2 | 1.37
| 12 | 0.579 |  | 0.622 | 2 | 1.244
| 14 | 0.535 |  | 0.557 | 2 | 1.114
| 14.5 | 0.485 | CL | 0.51 | 0.5 | 0.255
| 15 | 0.53 |  | 0.5075 | 0.5 | 0.25375 |  | 0 | 3.09
| 17 | 0.565 |  | 0.5475 | 2 | 1.095 |  | 4 | 3.085 | 3.0875 | 4 | 12.35
| 19 | 0.64 |  | 0.6025 | 2 | 1.205 |  | 6 | 0.835 | 1.96 | 2 | 3.92
| 21 | 0.725 |  | 0.6825 | 2 | 1.365 |  | 11.0025 | -2.5 | -0.8325 | 5.0025 | -4.1646
| 23 | 0.805 |  | 0.765 | 2 | 1.53 |  | 14.0025 | -2.5 | -2.5 | 3 | -7.5
| 25 | 3.925 | RB | 2.365 | 2 | 4.73 |  | 17.0025 | -2.5 | -2.5 | 3 | -7.5
| 26.2 | 3.124 |  | 3.5245 | 1.2 | 4.2294 |  | 25.4325 | 3.12 | 0.31 | 8.43 | 2.6133
| 29.2 | 2.74 | BC road | 2.932 | 3 | 8.796 |  | 26.2 | 3.124 | 3.122 | 0.7675 | 2.3961
| 31 | 2.785 | B.wall | 2.7625 | 1.8 | 4.9725 |  | 29.2 | 2.74 | 2.932 | 3 | 8.796
| X - Section at km. |  | 3
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 1.2
| 0 | 3.777 | House
| 2 | 3.77 | RCC road | 3.7735 | 2 | 7.547
| 6 | 3.76 | LB | 3.765 | 4 | 15.06
| 8 | 1.12 |  | 2.44 | 2 | 4.88 |  | 0 | 3.777
| 10 | 1.074 |  | 1.097 | 2 | 2.194 |  | 2 | 3.77 | 3.7735 | 2 | 7.547
| 12 | 0.8 |  | 0.937 | 2 | 1.874 |  | 6 | 3.76 | 3.765 | 4 | 15.06
| 14 | 0.7 |  | 0.75 | 2 | 1.5 |  | 8 | 1.12 | 2.44 | 2 | 4.88
| 16 | 0.633 |  | 0.6665 | 2 | 1.333 |  | 13.43 | -2.5 | -0.69 | 5.43 | -3.7467
| 17 | 0.585 | CL | 0.609 | 1 | 0.609 |  | 16.43 | -2.5 | -2.5 | 3 | -7.5
| 18 | 0.634 |  | 0.6095 | 1 | 0.6095 |  | 19.43 | -2.5 | -2.5 | 3 | -7.5
| 20 | 0.708 |  | 0.671 | 2 | 1.342 |  | 24.68 | 1 | -0.75 | 5.25 | -3.9375
| 22 | 0.825 |  | 0.7665 | 2 | 1.533 |  | 26 | 1.1 | 1.05 | 1.32 | 1.386
| 22 | 1.02 |  | 0.9225 | 0 | 0 |  | 28 | 3.874 | 2.487 | 2 | 4.974
| 26 | 1.1 |  | 1.06 | 4 | 4.24 |  | 29.2 | 3.873 | 3.8735 | 1.2 | 4.6482
| 28 | 3.874 | RB | 2.487 | 2 | 4.974 |  | 29.2 | 3.374 | 3.6235 | 0 | 0
| 29.2 | 3.873 |  | 3.8735 | 1.2 | 4.6482 |  | 34 | 3.46 | 3.417 | 4.8 | 16.4016
| 29.2 | 3.374 | BC road | 3.6235 | 0 | 0
| 34 | 3.46 | B.wall | 3.417 | 4.8 | 16.4016
| X - Section at km. |  | 3.1
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | -25.2
| 0 | 2.492 | House
| 2 | 2.487 | LB | 2.4895 | 2 | 4.979
| 4 | 1.453 |  | 1.97 | 2 | 3.94 |  | 0 | 2.492
| 6 | 1.072 |  | 1.2625 | 2 | 2.525 |  | 2 | 2.487 | 2.4895 | 2 | 4.979
| 8 | 0.886 |  | 0.979 | 2 | 1.958 |  | 4 | 1.453 | 1.97 | 2 | 3.94
| 10 | 0.887 |  | 0.8865 | 2 | 1.773 |  | 9.9295 | -2.5 | -0.5235 | 5.9295 | -3.1041
| 13 | 0.637 | CL | 0.762 | 3 | 2.286 |  | 12.9295 | -2.5 | -2.5 | 3 | -7.5
| 16 | 0.672 |  | 0.6545 | 3 | 1.9635 |  | 15.9295 | -2.5 | -2.5 | 3 | -7.5
| 18 | 0.842 |  | 0.757 | 2 | 1.514 |  | 21.9295 | 1.5 | -0.5 | 6 | -3
| 20 | 1.086 |  | 0.964 | 2 | 1.928 |  | 22 | 1.432 | 1.466 | 0.0705 | 0.10335
| 22 | 1.432 |  | 1.259 | 2 | 2.518 |  | 24 | 3.547 | 2.4895 | 2 | 4.979
| 24 | 3.547 | RB | 2.4895 | 2 | 4.979 |  | 25.2 | 3.546 | 3.5465 | 1.2 | 4.2558
| 25.2 | 3.546 |  | 3.5465 | 1.2 | 4.2558 |  | 25.2 | 3.161 | 3.3535 | 0 | 0
| 25.2 | 3.161 | BC road | 3.3535 | 0 | 0 |  | 31.2 | 3.386 | 3.2735 | 6 | 19.641
| 31.2 | 3.386 | B.wall | 3.2735 | 6 | 19.641
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 3.2
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.372 | House
| 5 | 2.376 | LB | 2.374 | 5 | 11.87
| 7 | 1.176 |  | 1.776 | 2 | 3.552
| 9 | 0.976 |  | 1.076 | 2 | 2.152
| 11 | 0.743 |  | 0.8595 | 2 | 1.719 |  | 0 | 2.372
| 13 | 0.687 | CL | 0.715 | 2 | 1.43 |  | 3 | 2.376 | 2.374 | 3 | 7.122
| 15 | 0.742 |  | 0.7145 | 2 | 1.429 |  | 10.314 | -2.5 | -0.062 | 7.314 | -0.45347
| 17 | 0.932 |  | 0.837 | 2 | 1.674 |  | 13.314 | -2.5 | -2.5 | 3 | -7.5
| 19 | 1.162 |  | 1.047 | 2 | 2.094 |  | 16.314 | -2.5 | -2.5 | 3 | -7.5
| 21 | 1.476 | RB | 1.319 | 2 | 2.638 |  | 22.269 | 1.47 | -0.515 | 5.955 | -3.0668
| 23 | 1.467 | House | 1.4715 | 2 | 2.943 |  | 23 | 1.467 | 1.4685 | 0.731 | 1.0735
| X - Section at km. |  | 3.3
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.591 | House
| 2 | 2.582 | LB | 2.5865 | 2 | 5.173
| 4 | 0.982 |  | 1.782 | 2 | 3.564
| 6 | 0.821 |  | 0.9015 | 2 | 1.803
| 8 | 0.587 |  | 0.704 | 2 | 1.408
| 9 | 0.532 | CL | 0.5595 | 1 | 0.5595
| 10 | 0.588 |  | 0.56 | 1 | 0.56
| 12 | 0.807 |  | 0.6975 | 2 | 1.395 |  | 0 | 2.591
| 14 | 1.01 |  | 0.9085 | 2 | 1.817 |  | 7.6365 | -2.5 | 0.0455 | 7.6365 | 0.34746
| 16 | 2.147 | RB | 1.5785 | 2 | 3.157 |  | 10.6365 | -2.5 | -2.5 | 3 | -7.5
| 20 | 2.157 |  | 2.152 | 4 | 8.608 |  | 13.6365 | -2.5 | -2.5 | 3 | -7.5
| 25 | 2.171 | House area | 2.164 | 5 | 10.82 |  | 20.6415 | 2.17 | -0.165 | 7.005 | -1.1558
| X - Section at km. |  | 3.4
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 0
| 0 | 2.882 | House
| 2 | 2.887 | LB | 2.8845 | 2 | 5.769
| 4 | 1.007 |  | 1.947 | 2 | 3.894
| 6 | 0.761 |  | 0.884 | 2 | 1.768 |  | 0 | 2.882
| 8 | 0.537 |  | 0.649 | 2 | 1.298 |  | 8.073 | -2.5 | 0.191 | 8.073 | 1.5419
| 10 | 0.472 | CL | 0.5045 | 2 | 1.009 |  | 11.073 | -2.5 | -2.5 | 3 | -7.5
| 12 | 0.528 |  | 0.5 | 2 | 1 |  | 14.073 | -2.5 | -2.5 | 3 | -7.5
| 14 | 0.722 |  | 0.625 | 2 | 1.25 |  | 22.143 | 2.88 | 0.19 | 8.07 | 1.5333
| 16 | 1.027 |  | 0.8745 | 2 | 1.749 |  | 23 | 2.882 | 2.881 | 0.857 | 2.469
| 18 | 2.872 | RB | 1.9495 | 2 | 3.899
| 20 | 2.882 | House | 2.877 | 2 | 5.754
| 23 | 2.882 |  | 2.882 | 3 | 8.646
| X - Section at km. |  | 3.5
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.862 | House
| 4 | 2.857 | BC road | 2.8595 | 4 | 11.438
| 5 | 2.852 | LB | 2.8545 | 1 | 2.8545
| 7 | 0.917 |  | 1.8845 | 2 | 3.769
| 9 | 0.642 |  | 0.7795 | 2 | 1.559 |  | 0 | 2.862
| 11 | 0.477 |  | 0.5595 | 2 | 1.119 |  | 4 | 2.857 | 2.8595 | 4 | 11.438
| 13 | 0.258 |  | 0.3675 | 2 | 0.735 |  | 12.0355 | -2.5 | 0.1785 | 8.0355 | 1.4343
| 15 | 0.202 | CL | 0.23 | 2 | 0.46 |  | 15.0355 | -2.5 | -2.5 | 3 | -7.5
| 17 | 0.264 |  | 0.233 | 2 | 0.466 |  | 18.0355 | -2.5 | -2.5 | 3 | -7.5
| 19 | 0.491 |  | 0.3775 | 2 | 0.755 |  | 25.906 | 2.747 | 0.1235 | 7.8705 | 0.97201
| 21 | 0.658 |  | 0.5745 | 2 | 1.149 |  | 28 | 2.747 | 2.747 | 2.094 | 5.7522
| 23 | 0.937 |  | 0.7975 | 2 | 1.595
| 25 | 2.742 | RB | 1.8395 | 2 | 3.679
| 28 | 2.747 | House | 2.7445 | 3 | 8.2335
[6 empty] | Net Area : |  | #REF! | - | #REF! | #REF!
| X - Section at km. |  | 3.6
| Pre-work | [5 empty] | Post-work | [5 empty] | #REF!
| 0 | 2.732 | House
| 4 | 2.727 | BC road | 2.7295 | 4 | 10.918
| 5 | 2.725 | LB | 2.726 | 1 | 2.726
| 7 | 0.958 |  | 1.8415 | 2 | 3.683
| 9 | 0.648 |  | 0.803 | 2 | 1.606
| 11 | 0.423 |  | 0.5355 | 2 | 1.071 |  | 0 | 2.732
| 13 | 0.253 |  | 0.338 | 2 | 0.676 |  | 4 | 2.727 | 2.7295 | 4 | 10.918
| 16 | 0.203 | CL | 0.228 | 3 | 0.684 |  | 5 | 2.725 | 2.726 | 1 | 2.726
| 19 | 0.262 |  | 0.2325 | 3 | 0.6975 |  | 7 | 0.958 | 1.8415 | 2 | 3.683
| 21 | 0.429 |  | 0.3455 | 2 | 0.691 |  | 8 | 0.8 | 0.879 | 1 | 0.879
| 23 | 0.623 |  | 0.526 | 2 | 1.052 |  | 12.95 | -2.5 | -0.85 | 4.95 | -4.2075
| 25 | 0.948 |  | 0.7855 | 2 | 1.571 |  | 15.95 | -2.5 | -2.5 | 3 | -7.5
| 27 | 2.613 | RB | 1.7805 | 2 | 3.561 |  | 18.95 | -2.5 | -2.5 | 3 | -7.5
| 30 | 2.618 | House | 2.6155 | 3 | 7.8465 |  | 23.9 | 0.8 | -0.85 | 4.95 | -4.2075
| X - Section at km. |  | 3.7
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 1.733 | House
| 2 | 1.723 | LB | 1.728 | 2 | 3.456
| 4 | 1.033 |  | 1.378 | 2 | 2.756
| 6 | 0.727 |  | 0.88 | 2 | 1.76
| 8 | 0.533 |  | 0.63 | 2 | 1.26
| 10 | 0.369 |  | 0.451 | 2 | 0.902
| 12 | 0.313 | CL | 0.341 | 2 | 0.682
| 14 | 0.371 |  | 0.342 | 2 | 0.684 |  | 0 | 1.733
| 16 | 0.549 |  | 0.46 | 2 | 0.92 |  | 2 | 1.723 | 1.728 | 2 | 3.456
| 18 | 0.728 |  | 0.6385 | 2 | 1.277 |  | 2.85 | 1.4 | 1.5615 | 0.85 | 1.3273
| 20 | 1.049 |  | 0.8885 | 2 | 1.777 |  | 8.7 | -2.5 | -0.55 | 5.85 | -3.2175
| 22 | 2.257 | RB | 1.653 | 2 | 3.306 |  | 11.7 | -2.5 | -2.5 | 3 | -7.5
| 23 | 2.263 | House | 2.26 | 1 | 2.26 |  | 14.7 | -2.5 | -2.5 | 3 | -7.5
| X - Section at km. |  | 3.8
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 10.677
| 0 | 2.637 | House area
| 5 | 2.628 |  | 2.6325 | 5 | 13.1625
| 10 | 2.618 | LB | 2.623 | 5 | 13.115
| 12 | 0.408 |  | 1.513 | 2 | 3.026
| 14 | 0.148 |  | 0.278 | 2 | 0.556
| 16 | -0.043 |  | 0.0525 | 2 | 0.105
| 17 | -0.096 | CL | -0.0695 | 1 | -0.0695
| 18 | -0.042 |  | -0.069 | 1 | -0.069
| 20 | 0.143 |  | 0.0505 | 2 | 0.101
| 22 | 0.413 |  | 0.278 | 2 | 0.556
| 24 | 2.718 | RB | 1.5655 | 2 | 3.131 |  | 0 | 2.637
| 28 | 2.728 | House | 2.723 | 4 | 10.892 |  | 5 | 2.628 | 2.6325 | 5 | 13.1625
| 29 | 2.728 |  | 2.728 | 1 | 2.728 |  | 6.5 | 2.618 | 2.623 | 1.5 | 3.9345
[8 empty] | 14.177 | -2.5 | 0.059 | 7.677 | 0.45294
[8 empty] | 17.177 | -2.5 | -2.5 | 3 | -7.5
[8 empty] | 20.177 | -2.5 | -2.5 | 3 | -7.5
[8 empty] | 28.0115 | 2.723 | 0.1115 | 7.8345 | 0.87355
[8 empty] | 29 | 2.728 | 2.7255 | 0.9885 | 2.6942
| X - Section at km. |  | 3.9
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.895 | Shop
| 5 | 2.9 |  | 2.8975 | 5 | 14.4875
| 10 | 2.91 | LB | 2.905 | 5 | 14.525
| 12 | 0.165 |  | 1.5375 | 2 | 3.075
| 14 | -0.035 |  | 0.065 | 2 | 0.13
| 15 | -0.234 |  | -0.1345 | 1 | -0.1345
| 16 | -0.29 | CL | -0.262 | 1 | -0.262
| 17 | -0.23 |  | -0.26 | 1 | -0.26
| 18 | 0.019 |  | -0.1055 | 1 | -0.1055
| 20 | 0.148 |  | 0.0835 | 2 | 0.167
| 22 | 2.865 | RB | 1.5065 | 2 | 3.013 |  | 0 | 2.895
| 25 | 2.88 |  | 2.8725 | 3 | 8.6175 |  | 5 | 2.9 | 2.8975 | 5 | 14.4875
| 30 | 2.885 | Shop | 2.8825 | 5 | 14.4125 |  | 13.1 | -2.5 | 0.2 | 8.1 | 1.62
| X - Section at km. |  | 4
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | #REF!
| 0 | 2.21 | House area
| 5 | 2.205 |  | 2.2075 | 5 | 11.0375
| 10 | 2.195 | LB | 2.2 | 5 | 11
| 12 | 0.02 |  | 1.1075 | 2 | 2.215
| 14 | -0.315 |  | -0.1475 | 2 | -0.295
| 15 | -0.481 |  | -0.398 | 1 | -0.398
| 16 | -0.54 | CL | -0.5105 | 1 | -0.5105
| 17 | -0.483 |  | -0.5115 | 1 | -0.5115
| 18 | -0.315 |  | -0.399 | 1 | -0.399 |  | 0 | 2.21
| 20 | -0.006 |  | -0.1605 | 2 | -0.321 |  | 5 | 2.205 | 2.2075 | 5 | 11.0375
| 22 | 1.646 | RB | 0.82 | 2 | 1.64 |  | 6 | 2.195 | 2.2 | 1 | 2.2
| 25 | 1.65 |  | 1.648 | 3 | 4.944 |  | 13.0425 | -2.5 | -0.1525 | 7.0425 | -1.074
| 30 | 1.644 | House area | 1.647 | 5 | 8.235 |  | 16.0425 | -2.5 | -2.5 | 3 | -7.5
| X - Section at km. |  | 4.053
| Pre-work |  |  |  |  | . | Post-work | [5 empty] | 10.3575
| 0 | 2.382 | Road slope
| 5 | 2.397 |  | 2.3895 | 5 | 11.9475
| 10 | 2.405 | LB | 2.401 | 5 | 12.005
| 12 | 0.452 |  | 1.4285 | 2 | 2.857
| 14 | 0.105 |  | 0.2785 | 2 | 0.557
| 16 | -0.153 |  | -0.024 | 2 | -0.048
| 18 | -0.295 |  | -0.224 | 2 | -0.448
| 19 | -0.347 | CL | -0.321 | 1 | -0.321
| 20 | -0.294 |  | -0.3205 | 1 | -0.3205
| 22 | -0.118 |  | -0.206 | 2 | -0.412
| 24 | 0.106 |  | -0.006 | 2 | -0.012 |  | 0 | 2.382
| 26 | 0.432 |  | 0.269 | 2 | 0.538 |  | 5 | 2.397 | 2.3895 | 5 | 11.9475
| 28 | 2.306 | RB | 1.369 | 2 | 2.738 |  | 8.5 | 2.405 | 2.401 | 3.5 | 8.4035
| 35 | 2.267 |  | 2.2865 | 7 | 16.0055 |  | 15.8575 | -2.5 | -0.0475 | 7.3575 | -0.34948
| 40 | 2.249 | Road slope | 2.258 | 5 | 11.29 |  | 18.8575 | -2.5 | -2.5 | 3 | -7.5
[8 empty] | 21.8575 | -2.5 | -2.5 | 3 | -7.5
[8 empty] | 29.0575 | 2.3 | -0.1 | 7.2 | -0.72
[8 empty] | 35 | 2.267 | 2.2835 | 5.9425 | 13.5697
[8 empty] | 40 | 2.249 | 2.258 | 5 | 11.29
[5 empty] | 40 | 56.3765 |  |  |  |  | 40 | 29.1412
[6 empty] | Net Area : |  | 56.3765 | - | 29.1412 | 27.2353
(Md. Safiqul Islam Sheikh) Executive Enginee SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj
(Mohammad Zahir Mazhar) Sub-Divisional Engineer SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj
(Aminul Islam Sohag) Sub-Asstt. Engineer SMO, IDWRM-KT Specialized Division BWDB, Gopalgonj